## Slide 1: USAP Infrastructure and Logistics Cost Model and Project Financial Analyses
April 2012

## Slide 2: Project NPV Sensitivity to Fuel Price
 |  | Alternatives Higher/(Lower) than Base Case | 
Project | Base Case | Base Fuel | 
 |  | + $1/gal | - $0.5/gal
Expand SPoT | 13.6 | 2.17 | (1.09)
Automate SPoT | 41.3 | 1.30 | (0.65)
Add Wind Turbines (MCM) | 1.4 | 0.10 | (0.05)
Solar Garage* (SP) | 1.2 | 0.45 | (0.23)
Install Wood Burner (MCM) | 0.7 | 0.14 | (0.07)
Burn Waste Oil (MCM) | 0.7 | 1.80 | (0.90)
Consolidate Warehouse (MCM) | 0.5 | 0.68 | (0.34)
Solar Panels* (SP) | 0.23 | 0.03 | (0.01)
Small Wind Turbine* (SP) | 0.05 | 0.01 | (0.00)
Expand Waste Heat (MCM) | -0.2 | 0.05 | (0.03)
Add Building Insulation (MCM) | -1.1 | 1.02 | (0.51)
20 C-17s to SP | -0.1 | (0.14) | 0.07
Inflation rate is assumed to be 2.5% for the planning horizon
The discount rate is assumed to be 2%
- - - - -
* Fuel assumed to be from 4 SPoT trips – i.e. the least amount of savings from the investment action